## Slide 1: Library Cleanup, loading and MinKNOW
ARTIC TRAIN 04AUG22 Rhys Izuagbe
ARTIC Network Train the Trainer - August 2022

## Slide 2: Objectives
Define and detail the purpose and process of Library Cleanups
Outline the MinION Flowcell loading and priming procedures
Outline how to use the MinKNOW software and run a library

## Slide 3: Library Cleanup
Principles of SPRI remain the same
Previously barcoded samples are pooled into a single volume
(Determined by the total number of samples)
Two SPRIs are conducted with adapter ligation occurring between
Notes: Format and procedure change slightly

## Slide 4: Pooling of barcoded samples
Volume of each sample is determined by the total number of samples
≥30 ng total concentration is needed to achieve max yield!
Pool barcoded amplicons of all samples into one tube
Library progressed to Cleanups

## Slide 5: Library Cleanup
You will need:
NEBNext Quick Ligation Reaction Buffer (NEB)
Quick T4 DNA Ligase (NEB)
Adapter Mix AMII (Part of the Native Barcoding kit, ONT)
S Fragment Buffer SFB (ONT)
Elution buffer (EB, ONT)
Pooled barcoded samples
NOTE: The final library clean-up DOES NOT use ethanol.
Ethanol will destroy the Flow cell Motor Proteins.

## Slide 6: Library Cleanup
The first SPRI removes residual enzymes and un-ligated barcodes
Sequencing adapter are then attached to each end of the barcoded amplicons
The second SPRI then removes residual enzymes and un-ligated adapters

## Slide 7: Loading a library
You will need:
Laptop running MiKNOW software
Flow cell Priming reagents FB and FLT (ONT)
Ligation sequencing reagents SQB and LB (ONT)
Flow cell
MinION
Your final library

## Slide 8: Flow cell priming
Anatomy of a Flow cell

## Slide 9: Flow cell priming

## Slide 10: Flow cell priming

## Slide 11: Priming & Loading Flow cell demo

## Slide 12: MinKNOW
Propriety software used to operate ONT sequencing devices
Enables real-time data acquisition and monitoring of runs
Input run parameters and sample IDs
Capable of live base-calling dependent on local hardware
Prepare initial data for further analysis
Single program for all devices, can be streamed and controlled by app

## Slide 13: MinKNOW
Login

## Slide 14: Heading
General functions

## Slide 15: Starting a run

## Slide 16: Naming Conventions
CODE_DD_MM_YYYY_B#
Code: Laboratory specific
CSRS- Centre Suisse de Recherches Scientifiques
FAMT- Centre de Recherche sur les Filarioses & Autres Maladies Tropicales
GRAS- Groupe de Recherche Action Santé
ITEC- Centre d’Excellence Africain en Innovations BioTechnologiques pour l’Élimination des Maladies à Transmission Vectorielle
PCMT- Centre d’Excellence Africain pour la Prévention et le Contrôle des Maladies Transmissibles
PHAP- African Centre for Population Health and Policy
MRTC- Malaria Research and Training Centre
Current Date
E.g. 04_08_2022
Daily Batch number
E.g. B1, B2
Example: GRAS_04_08_2022_B1

## Slide 17: Run parameters

## Slide 18: Run parameters
Library Preparation kit
Barcode Expansion kit

## Slide 19: Run parameters

## Slide 20: Run parameters
Notes: Once you have reviewed and accept the run settings, simply hit start